## Protocol Set
FUS-Plan-BrainBBB744-BODY | Plan-3T-BBB744-750W.Premier-MR30-001
FUS-Plan-BrainBBB744-HEAD | Plan-3T-BBB744-750W.Premier-MR30-001
FUS-PrePost-BrainBBB744 | T1w_FSPGR_Brain AX + Gd_15min
FUS-Tx-BrainBBB744-BODY | Tx-BBB744-3T-750W.Premier-MR30-001
FUS-Tx-BrainBBB744-HEAD | Tx-BBB744-3T-750W.Premier-MR30-001

## FUS-Tx-BrainBBB744-HEAD
Protocol Name: | FUS-Tx-BrainBBB744-HEAD
| Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual
Field Name \ Series Name | ****CALIBRATION**** | ****CALIBRATION**** | Tracking | Tracking | Tracking Prescan | Tracking Prescan | ManualCalibration | ManualCalibration | CentralFrequency | CentralFrequency | MovementDetection | MovementDetection | ****PLANNING**** | ****PLANNING**** | T2 FSE REFORMAT | T2 FSE REFORMAT | T1w SPGR REFORMAT | T1w SPGR REFORMAT | ****SONICATION**** | ****SONICATION**** | T2STAR-SE | T2STAR-SE | T2STAR-ME | T2STAR-ME | TMAP | TMAP | MEMP | MEMP | Tx-BBB744-3T-750W.Premier-MR30-001 | Tx-BBB744-3T-750W.Premier-MR30-001
Series Number | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15
Imaging Mode | 2D |  | 2D |  | 2D |  | 2D |  | 2D |  | 2D |  | 2D |  | 2D |  | 3D |  | 2D |  | 2D |  | 2D |  | 2D |  | 2D |  | 2D
Pulse Sequence | Gradient Echo |  | Gradient Echo |  | Gradient Echo |  | FSE-XL |  | Gradient Echo |  | Gradient Echo |  | Gradient Echo |  | FSE-XL |  | SPGR |  | Gradient Echo |  | SPGR |  | Multi-Echo FSPGR |  | SPGR |  | Multi-Echo FSPGR |  | Gradient Echo
PSD Name | track |  | track |  | NoField |  | NoField |  | NoField |  | NoField |  | track |  | NoField |  | NoField |  | track |  | NoField |  | fgre_memp |  | NoField |  | fgre_memp |  | track
Imaging Options | Seq, Fast |  | Seq, Fast |  | Seq, Fast |  | EDR, TRF, Fast, FR |  | Fast |  | Seq, Fast |  | Seq, Fast |  | EDR, TRF, Fast, ZIP512, FR |  | EDR, Fast |  | Seq, Fast |  | Seq, Fast, MPh |  | FC, Seq, Fast, MPh |  | Seq, Fast, MPh |  | Seq, Fast, MPh |  | Seq, Fast
FOV | 480 |  | 48 |  | 24 |  | 40 |  | 34 |  | 24 |  | 480 |  | 27 |  | 29 |  | 480 |  | 26 |  | 27 |  | 28 |  | 28 |  | 480
Phase FOV | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
Slices/Slabs | 1 |  | 1 |  | 3 |  | 1 |  | 1 |  | 3 |  | 1 |  | 70 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
Scan Locs | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Slices per Slab | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 124 |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Slice Thickness | 5 |  | 5 |  | 5 |  | 3 |  | 4 |  | 5 |  | 5 |  | 2 |  | 1.5 |  | 5 |  | 3 |  | 3 |  | 3 |  | 3 |  | 5
NPW_FACTOR | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 2 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
No Slab Wrap | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1.03 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
Slice Resolution | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100
Spacing | 0 |  | 0 |  | 5 |  | 1 |  | 1 |  | 5 |  | 0 |  | 0 |  | NoField |  | 0 |  | 1 |  | 1.5 |  | 1.5 |  | 1.5 |  | 0
Plane | 3-PLANE |  | 3-PLANE |  | 3-PLANE |  | SAGITTAL |  | AXIAL |  | 3-PLANE |  | 3-PLANE |  | AXIAL |  | SAGITTAL |  | 3-PLANE |  | AXIAL |  | AXIAL |  | AXIAL |  | AXIAL |  | 3-PLANE
Freq DIR | Unswap |  | Unswap |  | Unswap |  | S/I |  | R/L |  | Unswap |  | Unswap |  | A/P |  | S/I |  | Unswap |  | R/L |  | R/L |  | A/P |  | A/P |  | Unswap
TR | 20 |  | 20 |  | NoField |  | 2500 |  | 100 |  | NoField |  | 20 |  | 6700 |  | Minimum |  | 20 |  | NoField |  | 55 |  | NoField |  | 28 |  | 20
Auto TR | Off |  | Off |  | Off |  | Auto |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off
TE | Minimum |  | Minimum |  | NoField |  | 85 |  | 5 |  | NoField |  | Minimum |  | 95.4 |  | Min Full |  | Minimum |  | Min Full |  | Min Full |  | Min Full |  | Min Full |  | Minimum
TE2 | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Number of Echoes | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 6 |  | 1 |  | 5 |  | 1
Number of Shots | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Echo Train Length | NoField |  | NoField |  | NoField |  | 16 |  | NoField |  | NoField |  | NoField |  | 16 |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Flip Angle | NoField |  | NoField |  | NoField |  | 111 |  | 30 |  | NoField |  | NoField |  | 111 |  | 14 |  | NoField |  | 15 |  | 20 |  | 15 |  | 15 |  | NoField
Auto Flip Angle | NoField |  | NoField |  | NoField |  | 1 |  | NoField |  | NoField |  | NoField |  | 1 |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Mat Freq | 1024 |  | 1024 |  | 256 |  | 256 |  | 256 |  | 256 |  | 1024 |  | 384 |  | 288 |  | 1024 |  | 256 |  | 256 |  | 256 |  | 256 |  | 1024
Mat Phase | 2 |  | 2 |  | 128 |  | 192 |  | 128 |  | 128 |  | 2 |  | 352 |  | 288 |  | 2 |  | 256 |  | 256 |  | 128 |  | 128 |  | 2
NEX | NoField |  | NoField |  | 1 |  | 1 |  | 1 |  | 1 |  | NoField |  | 1 |  | 1 |  | NoField |  | 1 |  | 1 |  | 1 |  | 1 |  | NoField
BW | 62.5 |  | 62.5 |  | !EmptyFieldViolation! |  | 31.25 |  | 31.25 |  | !EmptyFieldViolation! |  | 62.5 |  | 31.25 |  | 25 |  | 62.5 |  | 3.97 |  | 19.23 |  | 5.68 |  | 35.71 |  | 62.5
BW2 | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
TI | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
INVERTF | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | Normal (S) |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | Normal (A) |  | Normal (S) |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
CV | (USERCV0=2.00)(USERCV1=3.00)(USERCV2=1.00)(USERCV3=2.00)(USERCV4=1.00)(USERCV5=1.00)(USERCV6=1.00)(USERCV7=300.00)(USERCV8=300.00)(USERCV9=300.00)(USERCV10=4.00)(USERCV11=0.00)(USERCV12=0.00)(USERCV13=1.00)(USERCV14=2.00)(USERCV15=0.00)(USERCV16=0.00)(USERCV17=0.00) |  | (USERCV0=2.00)(USERCV1=3.00)(USERCV2=1.00)(USERCV3=2.00)(USERCV4=1.00)(USERCV5=1.00)(USERCV6=1.00)(USERCV7=480.00)(USERCV8=480.00)(USERCV9=480.00)(USERCV10=4.00)(USERCV11=0.00)(USERCV12=0.00)(USERCV13=16.00)(USERCV14=2.00)(USERCV15=0.00)(USERCV16=0.00)(USERCV17=0.00) |  | (USERCV20=1.00) |  | (USERCV6=0.00)(USERCV15=0.00)(USERCV18=0.00)(USERCV21=0.00)(USERCV29=1.00)(USERCV30=1.00) |  | (USERCV6=0.00)(USERCV20=1.00) |  | (USERCV20=1.00) |  | (USERCV0=2.00)(USERCV1=3.00)(USERCV2=1.00)(USERCV3=2.00)(USERCV4=1.00)(USERCV5=1.00)(USERCV6=1.00)(USERCV7=300.00)(USERCV8=300.00)(USERCV9=300.00)(USERCV10=4.00)(USERCV11=0.00)(USERCV12=0.00)(USERCV13=1.00)(USERCV14=2.00)(USERCV15=0.00)(USERCV16=0.00)(USERCV17=0.00) |  | (USERCV6=0.00)(USERCV15=0.00)(USERCV18=0.00)(USERCV21=0.00)(USERCV29=1.00)(USERCV30=1.00)(USERCV38=0.00) |  | (USERCV4=0.00)(USERCV6=0.00)(USERCV30=1.00)(USERCV34=100.00) |  | (USERCV0=2.00)(USERCV1=3.00)(USERCV2=1.00)(USERCV3=2.00)(USERCV4=1.00)(USERCV5=1.00)(USERCV6=1.00)(USERCV7=300.00)(USERCV8=300.00)(USERCV9=300.00)(USERCV10=4.00)(USERCV11=0.00)(USERCV12=0.00)(USERCV13=1.00)(USERCV14=2.00)(USERCV15=0.00)(USERCV16=0.00)(USERCV17=0.00) |  | (USERCV20=1.00) |  | (USERCV16=1.00)(USERCV18=1.00) |  | (USERCV20=1.00) |  | (USERCV16=1.00)(USERCV18=1.00) |  | (USERCV0=2.00)(USERCV1=3.00)(USERCV2=1.00)(USERCV3=2.00)(USERCV4=1.00)(USERCV5=1.00)(USERCV6=1.00)(USERCV7=300.00)(USERCV8=300.00)(USERCV9=300.00)(USERCV10=4.00)(USERCV11=0.00)(USERCV12=0.00)(USERCV13=1.00)(USERCV14=2.00)(USERCV15=0.00)(USERCV16=0.00)(USERCV17=0.00)
Acceleration Phase | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Acceleration Slice | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Acquisition Delay | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | Minimum |  | Minimum |  | Minimum |  | Minimum |  | !EmptyFieldViolation!
Phases Per Location | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 5 |  | 5 |  | 6 |  | 6 |  | !EmptyFieldViolation!
Acquisition Order | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 0 |  | 0 |  | 0 |  | 0 |  | !EmptyFieldViolation!
PURE | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Anatomical Region | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain
Coil | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
CLINICALCOIL | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
COILCOMPONENT | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
CoilReg | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Trck1-4 |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head
CoilPlug | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2
Shim | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto
EXCITATIONMODE | Non-Selective |  | Non-Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Non-Selective |  | Selective |  | Selective |  | Non-Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Non-Selective
SL3PLANE | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SL3PLANE1 | 1 |  | 1 |  | 1 |  | 0 |  | 0 |  | 1 |  | 1 |  | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 1
SL3PLANE2 | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SL3PLANE3 | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SLICEORDER | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
SPCPERPLANE1 | 0 |  | 0 |  | 5 |  | 0 |  | 0 |  | 5 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SPCPERPLANE2 | 0 |  | 0 |  | 5 |  | 0 |  | 0 |  | 5 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SPCPERPLANE3 | 0 |  | 0 |  | 5 |  | 0 |  | 0 |  | 5 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PHASECORR | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No
SAVEORIGINAL | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0

## FUS-Tx-BrainBBB744-BODY
Protocol Name: | FUS-Tx-BrainBBB744-BODY
| Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual
Field Name \ Series Name | ****CALIBRATION**** | ****CALIBRATION**** | Tracking | Tracking | Tracking Prescan | Tracking Prescan | ManualCalibration | ManualCalibration | CentralFrequency | CentralFrequency | MovementDetection | MovementDetection | ****PLANNING**** | ****PLANNING**** | T2 FRFSE REFORMAT | T2 FRFSE REFORMAT | T1w SPGR REFORMAT | T1w SPGR REFORMAT | ****SONICATION**** | ****SONICATION**** | T2STAR-SE | T2STAR-SE | T2STAR-ME | T2STAR-ME | TMAP | TMAP | MEMP | MEMP | Tx-BBB744-3T-750W.Premier-MR30-001 | Tx-BBB744-3T-750W.Premier-MR30-001
Series Number | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15
Imaging Mode | 2D |  | 2D |  | 2D |  | 2D |  | 2D |  | 2D |  | 2D |  | 2D |  | 3D |  | 2D |  | 2D |  | 2D |  | 2D |  | 2D |  | 2D
Pulse Sequence | Gradient Echo |  | Gradient Echo |  | Gradient Echo |  | FSE-XL |  | Gradient Echo |  | Gradient Echo |  | Gradient Echo |  | FSE-XL |  | SPGR |  | Gradient Echo |  | SPGR |  | Multi-Echo FSPGR |  | SPGR |  | Multi-Echo FSPGR |  | Gradient Echo
PSD Name | track |  | track |  | NoField |  | NoField |  | NoField |  | NoField |  | track |  | NoField |  | NoField |  | track |  | NoField |  | fgre_memp |  | NoField |  | fgre_memp |  | track
Imaging Options | Seq, Fast |  | Seq, Fast |  | Seq, Fast |  | EDR, TRF, Fast, FR |  | Fast |  | Seq, Fast |  | Seq, Fast |  | EDR, TRF, Fast, ZIP512, FR |  | EDR, Fast |  | Seq, Fast |  | Seq, Fast, MPh |  | FC, Seq, Fast, MPh |  | Seq, Fast, MPh |  | Seq, Fast, MPh |  | Seq, Fast
FOV | 480 |  | 48 |  | 24 |  | 40 |  | 34 |  | 24 |  | 480 |  | 27 |  | 29 |  | 480 |  | 27 |  | 27 |  | 28 |  | 28 |  | 480
Phase FOV | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
Slices/Slabs | 1 |  | 1 |  | 3 |  | 1 |  | 1 |  | 3 |  | 1 |  | 70 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
Scan Locs | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Slices per Slab | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 124 |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Slice Thickness | 5 |  | 5 |  | 5 |  | 3 |  | 4 |  | 5 |  | 5 |  | 2 |  | 1.5 |  | 5 |  | 3 |  | 3 |  | 3 |  | 3 |  | 5
NPW_FACTOR | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 2 |  | 1 |  | 2 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
No Slab Wrap | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1.03 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
Slice Resolution | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100
Spacing | 0 |  | 0 |  | 5 |  | 1 |  | 1 |  | 5 |  | 0 |  | Intleave |  | NoField |  | 0 |  | 1 |  | 1.5 |  | 1.5 |  | 1.5 |  | 0
Plane | 3-PLANE |  | 3-PLANE |  | 3-PLANE |  | SAGITTAL |  | AXIAL |  | 3-PLANE |  | 3-PLANE |  | AXIAL |  | SAGITTAL |  | 3-PLANE |  | AXIAL |  | AXIAL |  | AXIAL |  | AXIAL |  | 3-PLANE
Freq DIR | Unswap |  | Unswap |  | Unswap |  | S/I |  | R/L |  | Unswap |  | Unswap |  | A/P |  | S/I |  | Unswap |  | R/L |  | R/L |  | A/P |  | A/P |  | Unswap
TR | 20 |  | 20 |  | NoField |  | 2500 |  | 100 |  | NoField |  | 20 |  | 6700 |  | Minimum |  | 20 |  | NoField |  | 55 |  | NoField |  | 28 |  | 20
Auto TR | Off |  | Off |  | Off |  | Auto |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off
TE | Minimum |  | Minimum |  | NoField |  | 85 |  | 5 |  | NoField |  | Minimum |  | 98.7 |  | Min Full |  | Minimum |  | Min Full |  | Min Full |  | Min Full |  | Min Full |  | Minimum
TE2 | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Number of Echoes | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 6 |  | 1 |  | 5 |  | 1
Number of Shots | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Echo Train Length | NoField |  | NoField |  | NoField |  | 16 |  | NoField |  | NoField |  | NoField |  | 16 |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Flip Angle | NoField |  | NoField |  | NoField |  | 111 |  | 30 |  | NoField |  | NoField |  | 111 |  | 14 |  | NoField |  | 15 |  | 20 |  | 15 |  | 15 |  | NoField
Auto Flip Angle | NoField |  | NoField |  | NoField |  | 1 |  | NoField |  | NoField |  | NoField |  | 1 |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Mat Freq | 1024 |  | 1024 |  | 256 |  | 256 |  | 256 |  | 256 |  | 1024 |  | 384 |  | 288 |  | 1024 |  | 256 |  | 256 |  | 256 |  | 256 |  | 1024
Mat Phase | 2 |  | 2 |  | 128 |  | 192 |  | 128 |  | 128 |  | 2 |  | 352 |  | 288 |  | 2 |  | 256 |  | 256 |  | 128 |  | 128 |  | 2
NEX | NoField |  | NoField |  | 1 |  | 1 |  | 1 |  | 1 |  | NoField |  | 0.5 |  | 1 |  | NoField |  | 1 |  | 1 |  | 1 |  | 1 |  | NoField
BW | 62.5 |  | 62.5 |  | !EmptyFieldViolation! |  | 31.25 |  | 31.25 |  | !EmptyFieldViolation! |  | 62.5 |  | 31.25 |  | 25 |  | 62.5 |  | 3.97 |  | 19.23 |  | 5.68 |  | 35.71 |  | 62.5
BW2 | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
TI | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
INVERTF | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | Normal (S) |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | Normal (A) |  | Normal (S) |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
CV | (USERCV0=2.00)(USERCV1=3.00)(USERCV2=1.00)(USERCV3=2.00)(USERCV4=1.00)(USERCV5=1.00)(USERCV6=1.00)(USERCV7=300.00)(USERCV8=300.00)(USERCV9=300.00)(USERCV10=4.00)(USERCV11=0.00)(USERCV12=0.00)(USERCV13=1.00)(USERCV14=2.00)(USERCV15=0.00)(USERCV16=0.00)(USERCV17=0.00) |  | (USERCV0=2.00)(USERCV1=3.00)(USERCV2=1.00)(USERCV3=2.00)(USERCV4=1.00)(USERCV5=1.00)(USERCV6=1.00)(USERCV7=480.00)(USERCV8=480.00)(USERCV9=480.00)(USERCV10=4.00)(USERCV11=0.00)(USERCV12=0.00)(USERCV13=16.00)(USERCV14=2.00)(USERCV15=0.00)(USERCV16=0.00)(USERCV17=0.00) |  | (USERCV20=1.00) |  | (USERCV6=0.00)(USERCV15=0.00)(USERCV18=0.00)(USERCV21=0.00)(USERCV29=1.00)(USERCV30=1.00) |  | (USERCV6=0.00)(USERCV20=1.00) |  | (USERCV20=1.00) |  | (USERCV0=2.00)(USERCV1=3.00)(USERCV2=1.00)(USERCV3=2.00)(USERCV4=1.00)(USERCV5=1.00)(USERCV6=1.00)(USERCV7=300.00)(USERCV8=300.00)(USERCV9=300.00)(USERCV10=4.00)(USERCV11=0.00)(USERCV12=0.00)(USERCV13=1.00)(USERCV14=2.00)(USERCV15=0.00)(USERCV16=0.00)(USERCV17=0.00) |  | (USERCV6=0.00)(USERCV15=0.00)(USERCV17=1.00)(USERCV18=0.00)(USERCV21=0.00)(USERCV29=1.00)(USERCV30=1.00)(USERCV38=0.00) |  | (USERCV4=0.00)(USERCV6=0.00)(USERCV30=1.00)(USERCV34=100.00) |  | (USERCV0=2.00)(USERCV1=3.00)(USERCV2=1.00)(USERCV3=2.00)(USERCV4=1.00)(USERCV5=1.00)(USERCV6=1.00)(USERCV7=300.00)(USERCV8=300.00)(USERCV9=300.00)(USERCV10=4.00)(USERCV11=0.00)(USERCV12=0.00)(USERCV13=1.00)(USERCV14=2.00)(USERCV15=0.00)(USERCV16=0.00)(USERCV17=0.00) |  | (USERCV20=1.00) |  | (USERCV16=1.00)(USERCV18=1.00) |  | (USERCV20=1.00) |  | (USERCV16=1.00)(USERCV18=1.00) |  | (USERCV0=2.00)(USERCV1=3.00)(USERCV2=1.00)(USERCV3=2.00)(USERCV4=1.00)(USERCV5=1.00)(USERCV6=1.00)(USERCV7=300.00)(USERCV8=300.00)(USERCV9=300.00)(USERCV10=4.00)(USERCV11=0.00)(USERCV12=0.00)(USERCV13=1.00)(USERCV14=2.00)(USERCV15=0.00)(USERCV16=0.00)(USERCV17=0.00)
Acceleration Phase | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Acceleration Slice | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Acquisition Delay | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | Minimum |  | Minimum |  | Minimum |  | Minimum |  | !EmptyFieldViolation!
Phases Per Location | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 5 |  | 5 |  | 6 |  | 6 |  | !EmptyFieldViolation!
Acquisition Order | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 0 |  | 0 |  | 0 |  | 0 |  | !EmptyFieldViolation!
PURE | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Anatomical Region | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain
Coil | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
CLINICALCOIL | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
COILCOMPONENT | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
CoilReg | InSightec8chFUSTracking1-8 |  | InSightec8chFUSTracking1-8 |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
CoilPlug | InSightec8chFUSTracking |  | InSightec8chFUSTracking |  | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY
Shim | Auto |  | Off |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto
EXCITATIONMODE | Non-Selective |  | Non-Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Non-Selective |  | Selective |  | Selective |  | Non-Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Non-Selective
SL3PLANE | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SL3PLANE1 | 1 |  | 1 |  | 1 |  | 0 |  | 0 |  | 1 |  | 1 |  | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 1
SL3PLANE2 | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SL3PLANE3 | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SLICEORDER | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
SPCPERPLANE1 | 0 |  | 0 |  | 5 |  | 0 |  | 0 |  | 5 |  | 0 |  | Intleave |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SPCPERPLANE2 | 0 |  | 0 |  | 5 |  | 0 |  | 0 |  | 5 |  | 0 |  | Intleave |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SPCPERPLANE3 | 0 |  | 0 |  | 5 |  | 0 |  | 0 |  | 5 |  | 0 |  | Intleave |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PHASECORR | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No
SAVEORIGINAL | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0

## FUS-PrePost-BrainBBB744
Protocol Name: | FUS-PrePost-BrainBBB744
| Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual
Field Name \ Series Name | Localizer T1 | Localizer T1 | 3D CUBE T2 | 3D CUBE T2 | qT1_FA12_ROT | qT1_FA12_ROT | qT1_FA2_ROT | qT1_FA2_ROT | qT1_FA5_ROT | qT1_FA5_ROT | qT1_FA8_ROT | qT1_FA8_ROT | qT1_FA16_ROT | qT1_FA16_ROT | B1MAP_ROTcenter | B1MAP_ROTcenter | GRE-ME_T2STAR_ROT | GRE-ME_T2STAR_ROT | GRE-ME_T2STAR_FOV23_ROT | GRE-ME_T2STAR_FOV23_ROT | T1w_FSPGR_Brain AX | T1w_FSPGR_Brain AX | B1MAP_BrainCenter | B1MAP_BrainCenter | Place Holder - Injection, Perfusion | Place Holder - Injection, Perfusion | Place Holder - DWI ~2:30min | Place Holder - DWI ~2:30min | T2 FLAIR CUBE | T2 FLAIR CUBE | T1 CUBE | T1 CUBE | T1w_FSPGR_Brain AX + Gd | T1w_FSPGR_Brain AX + Gd | T1w_FSPGR_Brain AX + Gd_15min | T1w_FSPGR_Brain AX + Gd_15min
Series Number | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18
Imaging Mode | 2D |  | 3D |  | 3D |  | 3D |  | 3D |  | 3D |  | 3D |  | 2D |  | 2D |  | 2D |  | 3D |  | 2D |  | 2D |  | 2D |  | 3D |  | 3D |  | 3D |  | 3D
Pulse Sequence | Gradient Echo |  | Cube |  | SPGR |  | SPGR |  | SPGR |  | SPGR |  | SPGR |  | Gradient Echo |  | Multi-Echo FSPGR |  | Multi-Echo FSPGR |  | SPGR |  | Gradient Echo |  | Gradient Echo |  | Spin Echo |  | Cube T2 FLAIR |  | Cube |  | SPGR |  | SPGR
PSD Name | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | B1MAP |  | NoField |  | NoField |  | NoField |  | B1MAP |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Imaging Options | Seq, Fast |  | FC, EDR, Fast, ZIP512, FR, ARC |  | EDR, Fast, Asset |  | EDR, Fast, Asset |  | EDR, Fast, Asset |  | EDR, Fast, Asset |  | EDR, Fast, Asset |  | EDR, Fast |  | EDR, Fast, Asset |  | EDR, Fast, Asset |  | Fast, Asset |  | EDR, Fast |  | MPh, EPI, Asset |  | EDR, EPI, DIFF |  | EDR, Fast, ZIP512, ARC, IrP |  | EDR, Fast, ZIP512, FR, ARC |  | Fast, Asset |  | Fast, Asset
FOV | 44 |  | 24 |  | 22 |  | 22 |  | 22 |  | 22 |  | 22 |  | 25 |  | 25 |  | 23 |  | 25.6 |  | 25 |  | 22 |  | 25 |  | 25.6 |  | 25.6 |  | 25.6 |  | 25.6
Phase FOV | 1 |  | 1 |  | 0.8 |  | 0.8 |  | 0.8 |  | 0.8 |  | 0.8 |  | NoField |  | 0.72 |  | 0.8 |  | 0.75 |  | NoField |  | 1 |  | 1 |  | 1 |  | 1 |  | 0.75 |  | 0.75
Slices/Slabs | 33 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 15 |  | 37 |  | 40 |  | 1 |  | 15 |  | 20 |  | 26 |  | 1 |  | 1 |  | 1 |  | 1
Scan Locs | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Slices per Slab | !EmptyFieldViolation! |  | 212 |  | 40 |  | 40 |  | 40 |  | 40 |  | 40 |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 106 |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 264 |  | 272 |  | 106 |  | 106
Slice Thickness | 7 |  | 1.4 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 5 |  | 2.5 |  | 2.5 |  | 1.5 |  | 5 |  | 5 |  | 3.6 |  | 1.4 |  | 1.2 |  | 1.5 |  | 1.5
NPW_FACTOR | 1 |  | 1 |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 1 |  | 1 |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
No Slab Wrap | 1 |  | 1.04 |  | 1.05 |  | 1.05 |  | 1.05 |  | 1.05 |  | 1.05 |  | 1 |  | 1 |  | 1 |  | 1.04 |  | 1 |  | 1 |  | 1 |  | 1.03 |  | 1.03 |  | 1.04 |  | 1.04
Slice Resolution | 100 |  | 50 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 50 |  | 50 |  | 100 |  | 100
Spacing | 3 |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | 5 |  | 0 |  | 0 |  | NoField |  | 5 |  | 0 |  | 0 |  | NoField |  | NoField |  | NoField |  | NoField
Plane | 3-PLANE |  | SAGITTAL |  | AXIAL |  | AXIAL |  | AXIAL |  | AXIAL |  | AXIAL |  | AXIAL |  | AXIAL |  | AXIAL |  | AXIAL |  | AXIAL |  | AXIAL |  | AXIAL |  | SAGITTAL |  | SAGITTAL |  | AXIAL |  | AXIAL
Freq DIR | Unswap |  | S/I |  | A/P |  | A/P |  | A/P |  | A/P |  | A/P |  | A/P |  | A/P |  | A/P |  | A/P |  | A/P |  | R/L |  | A/P |  | S/I |  | S/I |  | A/P |  | A/P
TR | NoField |  | 2500 |  | Minimum |  | Minimum |  | Minimum |  | Minimum |  | Minimum |  | NoField |  | 900 |  | 900 |  | Minimum |  | NoField |  | 1500 |  | 10000 |  | 4000 |  | 600 |  | Minimum |  | Minimum
Auto TR | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off
TE | NoField |  | 92.9 |  | Min Full |  | Min Full |  | Min Full |  | Min Full |  | Min Full |  | NoField |  | Min Full |  | Min Full |  | Min Full |  | NoField |  | 30 |  | Minimum |  | 105 |  | Minimum |  | Min Full |  | Min Full
TE2 | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Number of Echoes | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 8 |  | 8 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
Number of Shots | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | 1 |  | 1 |  | NoField |  | NoField |  | NoField |  | NoField
Echo Train Length | NoField |  | 140 |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | 200 |  | 18 |  | NoField |  | NoField
Flip Angle | NoField |  | NoField |  | 12 |  | 2 |  | 5 |  | 8 |  | 16 |  | 20 |  | 80 |  | 80 |  | 14 |  | 20 |  | 25 |  | NoField |  | NoField |  | NoField |  | 14 |  | 14
Auto Flip Angle | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Mat Freq | 256 |  | 256 |  | 200 |  | 200 |  | 200 |  | 200 |  | 200 |  | 128 |  | 256 |  | 232 |  | 256 |  | 128 |  | 192 |  | 256 |  | 256 |  | 256 |  | 256 |  | 256
Mat Phase | 128 |  | 256 |  | 200 |  | 200 |  | 200 |  | 200 |  | 200 |  | 64 |  | 256 |  | 232 |  | 256 |  | 64 |  | 192 |  | 256 |  | 256 |  | 256 |  | 256 |  | 256
NEX | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | NoField |  | 1 |  | 1 |  | 1 |  | 1
BW | !EmptyFieldViolation! |  | 62.5 |  | 31.25 |  | 31.25 |  | 31.25 |  | 31.25 |  | 31.25 |  | 15.63 |  | 31.25 |  | 31.25 |  | 27.78 |  | 15.63 |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 50 |  | 41.67 |  | 27.78 |  | 27.78
BW2 | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
TI | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | 1306 |  | NoField |  | NoField |  | NoField
INVERTF | !EmptyFieldViolation! |  | Normal (S) |  | Normal (A) |  | Normal (A) |  | Normal (A) |  | Normal (A) |  | Normal (A) |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | Normal (A) |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | Normal (S) |  | Normal (S) |  | Normal (A) |  | Normal (A)
CV | (USERCV20=1.00) |  | (USERCV22=0.00)(USERCV29=1.00)(USERCV30=1.00)(USERCV32=1.00)(USERCV34=100.00)(USERCV40=0.00) |  | (USERCV4=0.00)(USERCV6=1.00)(USERCV30=1.00)(USERCV34=100.00)(USERCV40=0.00) |  | (USERCV4=0.00)(USERCV6=1.00)(USERCV30=1.00)(USERCV34=100.00)(USERCV40=0.00) |  | (USERCV4=0.00)(USERCV6=1.00)(USERCV30=1.00)(USERCV34=100.00)(USERCV40=0.00) |  | (USERCV4=0.00)(USERCV6=1.00)(USERCV30=1.00)(USERCV34=100.00)(USERCV40=0.00) |  | (USERCV4=0.00)(USERCV6=1.00)(USERCV30=1.00)(USERCV34=100.00)(USERCV40=0.00) |  | (USERCV2=0.00) |  | (USERCV16=1.00)(USERCV17=1.00)(USERCV20=1.00)(USERCV40=0.00) |  | (USERCV16=1.00)(USERCV17=1.00)(USERCV20=1.00)(USERCV40=0.00) |  | (USERCV4=0.00)(USERCV6=0.00)(USERCV30=1.00)(USERCV34=100.00)(USERCV40=0.00) |  | (USERCV2=0.00) |  | (USERCV0=1.00)(USERCV11=1.00) |  | (USERCV0=1.00)(USERCV5=1.00)(USERCV6=0.00)(USERCV9=0.00)(USERCV40=0.00) |  | (USERCV5=1.00)(USERCV11=20.00)(USERCV30=1.00)(USERCV32=1.00)(USERCV34=100.00)(USERCV40=0.00) |  | (USERCV22=3.00)(USERCV29=1.00)(USERCV30=1.00)(USERCV32=1.00)(USERCV34=100.00)(USERCV40=0.00) |  | (USERCV4=0.00)(USERCV6=0.00)(USERCV30=1.00)(USERCV34=100.00)(USERCV40=0.00) |  | (USERCV4=0.00)(USERCV6=0.00)(USERCV30=1.00)(USERCV34=100.00)(USERCV40=0.00)
Acceleration Phase | !EmptyFieldViolation! |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | !EmptyFieldViolation! |  | 2 |  | 2 |  | 1 |  | !EmptyFieldViolation! |  | 2 |  | !EmptyFieldViolation! |  | 2 |  | 2 |  | 1 |  | 1
Acceleration Slice | !EmptyFieldViolation! |  | 1 |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 1.5 |  | 2 |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Acquisition Delay | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | Minimum |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Phases Per Location | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 40 |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Acquisition Order | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 0 |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
PURE | 0 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 0 |  | 2 |  | 2 |  | 2 |  | 0 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2
Anatomical Region | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain
Coil | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
CLINICALCOIL | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
COILCOMPONENT | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
CoilReg | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1 |  | GE21chHNAAB-R2;GE21chHNAAB-NECK;GE21chHNAAB-R1
CoilPlug | GE21chHNAAB |  | GE21chHNAAB |  | GE21chHNAAB |  | GE21chHNAAB |  | GE21chHNAAB |  | GE21chHNAAB |  | GE21chHNAAB |  | GE21chHNAAB |  | GE21chHNAAB |  | GE21chHNAAB |  | GE21chHNAAB |  | GE21chHNAAB |  | GE21chHNAAB |  | GE21chHNAAB |  | GE21chHNAAB |  | GE21chHNAAB |  | GE21chHNAAB |  | GE21chHNAAB
Shim | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto
EXCITATIONMODE | Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Non-Selective |  | Non-Selective |  | Selective |  | Selective
SL3PLANE | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SL3PLANE1 | 11 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SL3PLANE2 | 11 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SL3PLANE3 | 11 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SLICEORDER | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
SPCPERPLANE1 | 3 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SPCPERPLANE2 | 3 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SPCPERPLANE3 | 3 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PHASECORR | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | Yes |  | Yes |  | No |  | No |  | No |  | No
SAVEORIGINAL | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0

## FUS-Plan-BrainBBB744-HEAD
Protocol Name: | FUS-Plan-BrainBBB744-HEAD
| Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual
Field Name \ Series Name | ****CALIBRATION**** | ****CALIBRATION**** | Localizer | Localizer | TGcalibration | TGcalibration | PI-PURE calibration | PI-PURE calibration | ****PLANNING**** | ****PLANNING**** | T2w FIESTA REFORMAT | T2w FIESTA REFORMAT | CUBE FLAIR | CUBE FLAIR | Axial T2-FLAIR | Axial T2-FLAIR | offlineGrid-T2STAR-SE | offlineGrid-T2STAR-SE | offlineGrid-T2STAR-ME | offlineGrid-T2STAR-ME | offlineGrid-T2STAR-ME PI | offlineGrid-T2STAR-ME PI | Plan-3T-BBB744-750W.Premier-MR30-001 | Plan-3T-BBB744-750W.Premier-MR30-001
Series Number | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12
Imaging Mode | 2D |  | 2D |  | 2D |  | 3D |  | 2D |  | 3D |  | 3D |  | 2D |  | 2D |  | 2D |  | 2D |  | 2D
Pulse Sequence | Gradient Echo |  | Gradient Echo |  | Gradient Echo |  | SPGR |  | Gradient Echo |  | Fiesta |  | Cube T2 FLAIR |  | FSE-XL |  | Gradient Echo |  | Multi-Echo FSPGR |  | Multi-Echo FSPGR |  | Gradient Echo
PSD Name | track |  | NoField |  | B1MAP |  | NoField |  | track |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | track
Imaging Options | Seq, Fast |  | Seq, Fast |  | EDR, Fast |  | EDR, Fast, Calib |  | Seq, Fast |  | EDR, Fast |  | EDR, Fast, ZIP512, T2P, IrP |  | FC, EDR, TRF, Fast, T2flair |  | FC, EDR |  | FC, EDR, Fast |  | FC, EDR, Fast, ARC |  | Seq, Fast
FOV | 480 |  | 44 |  | 40 |  | 34 |  | 480 |  | 24 |  | 26 |  | 26 |  | 26 |  | 27 |  | 27 |  | 480
Phase FOV | 1 |  | 1 |  | NoField |  | NoField |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
Slices/Slabs | 1 |  | 33 |  | 5 |  | 1 |  | 1 |  | 1 |  | 1 |  | 70 |  | 30 |  | 30 |  | 30 |  | 1
Scan Locs | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 32 |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Slices per Slab | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 106 |  | 212 |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Slice Thickness | 5 |  | 7 |  | 5 |  | 5 |  | 5 |  | 2 |  | 1.6 |  | 2 |  | 3 |  | 3 |  | 3 |  | 5
NPW_FACTOR | 1 |  | 1 |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 1 |  | 2 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
No Slab Wrap | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1.04 |  | 1.04 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
Slice Resolution | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 50 |  | 100 |  | 100 |  | 100 |  | 100 |  | 100
Spacing | 0 |  | 3 |  | 5 |  | NoField |  | 0 |  | NoField |  | NoField |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Plane | 3-PLANE |  | 3-PLANE |  | SAGITTAL |  | AXIAL |  | 3-PLANE |  | SAGITTAL |  | SAGITTAL |  | AXIAL |  | OBLIQUE |  | AXIAL |  | AXIAL |  | 3-PLANE
Freq DIR | Unswap |  | Unswap |  | S/I |  | R/L |  | Unswap |  | S/I |  | S/I |  | A/P |  | R/L |  | R/L |  | R/L |  | Unswap
TR | 20 |  | NoField |  | NoField |  | NoField |  | 20 |  | NoField |  | 4500 |  | 8000 |  | 440 |  | 950 |  | 950 |  | 20
Auto TR | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off
TE | Minimum |  | NoField |  | NoField |  | NoField |  | Minimum |  | Min Full |  | Maximum |  | 112.6 |  | 20 |  | Min Full |  | Min Full |  | Minimum
TE2 | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Number of Echoes | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 6 |  | 6 |  | 1
Number of Shots | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Echo Train Length | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | 200 |  | 13 |  | NoField |  | NoField |  | NoField |  | NoField
Flip Angle | NoField |  | NoField |  | 20 |  | NoField |  | NoField |  | 55 |  | NoField |  | 125 |  | 50 |  | 70 |  | 70 |  | NoField
Auto Flip Angle | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Mat Freq | 1024 |  | 256 |  | 128 |  | !EmptyFieldViolation! |  | 1024 |  | 244 |  | 256 |  | 256 |  | 256 |  | 256 |  | 256 |  | 1024
Mat Phase | 2 |  | 128 |  | 128 |  | !EmptyFieldViolation! |  | 2 |  | 288 |  | 256 |  | 224 |  | 256 |  | 256 |  | 256 |  | 2
NEX | NoField |  | 1 |  | 1 |  | NoField |  | NoField |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | NoField
BW | 62.5 |  | !EmptyFieldViolation! |  | 15.63 |  | !EmptyFieldViolation! |  | 62.5 |  | 62.5 |  | 41.67 |  | 31.25 |  | 14.71 |  | 41.67 |  | 41.67 |  | 62.5
BW2 | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
TI | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | 1358 |  | 2300 |  | NoField |  | NoField |  | NoField |  | NoField
INVERTF | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | Normal (L) |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | Normal (S) |  | Normal (A) |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
CV | (USERCV0=2.00)(USERCV1=3.00)(USERCV2=1.00)(USERCV3=2.00)(USERCV4=1.00)(USERCV5=1.00)(USERCV6=1.00)(USERCV7=300.00)(USERCV8=300.00)(USERCV9=300.00)(USERCV10=4.00)(USERCV11=0.00)(USERCV12=0.00)(USERCV13=1.00)(USERCV14=2.00)(USERCV15=0.00)(USERCV16=0.00)(USERCV17=0.00) |  | (USERCV20=1.00) |  | (USERCV2=0.00) |  | NoValue |  | (USERCV0=2.00)(USERCV1=3.00)(USERCV2=1.00)(USERCV3=2.00)(USERCV4=1.00)(USERCV5=1.00)(USERCV6=1.00)(USERCV7=300.00)(USERCV8=300.00)(USERCV9=300.00)(USERCV10=4.00)(USERCV11=0.00)(USERCV12=0.00)(USERCV13=1.00)(USERCV14=2.00)(USERCV15=0.00)(USERCV16=0.00)(USERCV17=0.00) |  | (USERCV30=1.00)(USERCV34=100.00) |  | (USERCV11=20.00)(USERCV30=1.00)(USERCV32=1.00)(USERCV34=100.00) |  | (USERCV5=1.00)(USERCV15=0.00)(USERCV18=1.00)(USERCV21=0.00)(USERCV30=1.00)(USERCV38=0.00) |  | NoValue |  | (USERCV16=1.00)(USERCV17=1.00)(USERCV20=1.00) |  | (USERCV16=1.00)(USERCV17=1.00)(USERCV20=1.00) |  | (USERCV0=2.00)(USERCV1=3.00)(USERCV2=1.00)(USERCV3=2.00)(USERCV4=1.00)(USERCV5=1.00)(USERCV6=1.00)(USERCV7=300.00)(USERCV8=300.00)(USERCV9=300.00)(USERCV10=4.00)(USERCV11=0.00)(USERCV12=0.00)(USERCV13=1.00)(USERCV14=2.00)(USERCV15=0.00)(USERCV16=0.00)(USERCV17=0.00)
Acceleration Phase | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 1.5 |  | !EmptyFieldViolation!
Acceleration Slice | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Acquisition Delay | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Phases Per Location | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Acquisition Order | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
PURE | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Anatomical Region | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain
Coil | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
CLINICALCOIL | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
COILCOMPONENT | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
CoilReg | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head |  | InSightec10chHeadFUSv2-Head
CoilPlug | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2 |  | InSightec10chHeadFUSv2
Shim | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto
EXCITATIONMODE | Non-Selective |  | Selective |  | Selective |  | Selective |  | Non-Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Non-Selective
SL3PLANE | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SL3PLANE1 | 1 |  | 11 |  | 0 |  | 0 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 1
SL3PLANE2 | 0 |  | 11 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SL3PLANE3 | 0 |  | 11 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SLICEORDER | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
SPCPERPLANE1 | 0 |  | 3 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SPCPERPLANE2 | 0 |  | 3 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SPCPERPLANE3 | 0 |  | 3 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PHASECORR | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No
SAVEORIGINAL | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0

## FUS-Plan-BrainBBB744-BODY
Protocol Name: | FUS-Plan-BrainBBB744-BODY
| Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual | Requirement | Actual
Field Name \ Series Name | ****CALIBRATION**** | ****CALIBRATION**** | Localizer | Localizer | TGcalibration | TGcalibration | ****PLANNING**** | ****PLANNING**** | T2w FIESTA REFORMAT | T2w FIESTA REFORMAT | CUBE FLAIR | CUBE FLAIR | Axial T2-FLAIR | Axial T2-FLAIR | offlineGrid-T2STAR-SE | offlineGrid-T2STAR-SE | offlineGrid-T2STAR-ME | offlineGrid-T2STAR-ME | Plan-3T-BBB744-750W.Premier-MR30-001 | Plan-3T-BBB744-750W.Premier-MR30-001
Series Number | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10
Imaging Mode | 2D |  | 2D |  | 2D |  | 2D |  | 3D |  | 3D |  | 2D |  | 2D |  | 2D |  | 2D
Pulse Sequence | Gradient Echo |  | Gradient Echo |  | Gradient Echo |  | Gradient Echo |  | Fiesta |  | Cube T2 FLAIR |  | FSE-XL |  | Gradient Echo |  | Multi-Echo FSPGR |  | Gradient Echo
PSD Name | track |  | NoField |  | B1MAP |  | track |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | track
Imaging Options | Seq, Fast |  | Seq, Fast |  | EDR, Fast |  | Seq, Fast |  | EDR, Fast |  | EDR, Fast, ZIP512, T2P, IrP |  | FC, EDR, TRF, Fast, T2flair |  | FC, EDR |  | Fast |  | Seq, Fast
FOV | 480 |  | 44 |  | 40 |  | 480 |  | 24 |  | 26 |  | 26 |  | 25.6 |  | 27 |  | 480
Phase FOV | 1 |  | 1 |  | NoField |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
Slices/Slabs | 1 |  | 33 |  | 5 |  | 1 |  | 1 |  | 1 |  | 70 |  | 30 |  | 25 |  | 1
Scan Locs | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Slices per Slab | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | 106 |  | 212 |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Slice Thickness | 5 |  | 7 |  | 5 |  | 5 |  | 2 |  | 1.6 |  | 2 |  | 2 |  | 3 |  | 5
NPW_FACTOR | 1 |  | 1 |  | !EmptyFieldViolation! |  | 1 |  | 1.5 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
No Slab Wrap | 1 |  | 1 |  | 1 |  | 1 |  | 1.04 |  | 1.04 |  | 1 |  | 1 |  | 1 |  | 1
Slice Resolution | 100 |  | 100 |  | 100 |  | 100 |  | 100 |  | 50 |  | 100 |  | 100 |  | 100 |  | 100
Spacing | 0 |  | 3 |  | 5 |  | 0 |  | NoField |  | NoField |  | 0 |  | 0 |  | 1.5 |  | 0
Plane | 3-PLANE |  | 3-PLANE |  | SAGITTAL |  | 3-PLANE |  | SAGITTAL |  | SAGITTAL |  | AXIAL |  | AXIAL |  | AXIAL |  | 3-PLANE
Freq DIR | Unswap |  | Unswap |  | S/I |  | Unswap |  | S/I |  | S/I |  | A/P |  | A/P |  | R/L |  | Unswap
TR | 20 |  | NoField |  | NoField |  | 20 |  | NoField |  | 4500 |  | 8000 |  | 440 |  | 950 |  | 20
Auto TR | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off |  | Off
TE | Minimum |  | NoField |  | NoField |  | Minimum |  | Min Full |  | Maximum |  | 112.6 |  | 15 |  | Min Full |  | Minimum
TE2 | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Number of Echoes | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 8 |  | 1
Number of Shots | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Echo Train Length | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | 200 |  | 13 |  | NoField |  | NoField |  | NoField
Flip Angle | NoField |  | NoField |  | 20 |  | NoField |  | 55 |  | NoField |  | 125 |  | 50 |  | 70 |  | NoField
Auto Flip Angle | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
Mat Freq | 1024 |  | 256 |  | 128 |  | 1024 |  | 224 |  | 256 |  | 256 |  | 256 |  | 256 |  | 1024
Mat Phase | 2 |  | 128 |  | 128 |  | 2 |  | 256 |  | 256 |  | 224 |  | 256 |  | 256 |  | 2
NEX | NoField |  | 1 |  | 1 |  | NoField |  | 2 |  | 1 |  | 1 |  | 1 |  | 1 |  | NoField
BW | 62.5 |  | !EmptyFieldViolation! |  | 15.63 |  | 62.5 |  | 62.5 |  | 41.67 |  | 31.25 |  | 19.23 |  | 41.67 |  | 62.5
BW2 | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
TI | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | 1358 |  | 2300 |  | NoField |  | NoField |  | NoField
INVERTF | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | Normal (S) |  | Normal (A) |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
CV | (USERCV0=2.00)(USERCV1=3.00)(USERCV2=1.00)(USERCV3=2.00)(USERCV4=1.00)(USERCV5=1.00)(USERCV6=1.00)(USERCV7=300.00)(USERCV8=300.00)(USERCV9=300.00)(USERCV10=4.00)(USERCV11=0.00)(USERCV12=0.00)(USERCV13=1.00)(USERCV14=2.00)(USERCV15=0.00)(USERCV16=0.00)(USERCV17=0.00) |  | (USERCV20=1.00) |  | (USERCV2=0.00) |  | (USERCV0=2.00)(USERCV1=3.00)(USERCV2=1.00)(USERCV3=2.00)(USERCV4=1.00)(USERCV5=1.00)(USERCV6=1.00)(USERCV7=300.00)(USERCV8=300.00)(USERCV9=300.00)(USERCV10=4.00)(USERCV11=0.00)(USERCV12=0.00)(USERCV13=1.00)(USERCV14=2.00)(USERCV15=0.00)(USERCV16=0.00)(USERCV17=0.00) |  | (USERCV30=1.00)(USERCV34=100.00) |  | (USERCV11=20.00)(USERCV30=1.00)(USERCV32=1.00)(USERCV34=100.00) |  | (USERCV5=1.00)(USERCV15=0.00)(USERCV18=1.00)(USERCV21=0.00)(USERCV30=1.00)(USERCV38=0.00) |  | NoValue |  | (USERCV16=1.00)(USERCV17=1.00)(USERCV20=1.00) |  | (USERCV0=2.00)(USERCV1=3.00)(USERCV2=1.00)(USERCV3=2.00)(USERCV4=1.00)(USERCV5=1.00)(USERCV6=1.00)(USERCV7=300.00)(USERCV8=300.00)(USERCV9=300.00)(USERCV10=4.00)(USERCV11=0.00)(USERCV12=0.00)(USERCV13=1.00)(USERCV14=2.00)(USERCV15=0.00)(USERCV16=0.00)(USERCV17=0.00)
Acceleration Phase | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Acceleration Slice | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Acquisition Delay | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Phases Per Location | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
Acquisition Order | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
PURE | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Anatomical Region | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain |  | Brain
Coil | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField |  | NoField
CLINICALCOIL | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
COILCOMPONENT | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
CoilReg | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
CoilPlug | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY |  | GE_BODY
Shim | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto |  | Auto
EXCITATIONMODE | Non-Selective |  | Selective |  | Selective |  | Non-Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Selective |  | Non-Selective
SL3PLANE | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SL3PLANE1 | 1 |  | 11 |  | 0 |  | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 1
SL3PLANE2 | 0 |  | 11 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SL3PLANE3 | 0 |  | 11 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SLICEORDER | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation! |  | !EmptyFieldViolation!
SPCPERPLANE1 | 0 |  | 3 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SPCPERPLANE2 | 0 |  | 3 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
SPCPERPLANE3 | 0 |  | 3 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PHASECORR | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No |  | No
SAVEORIGINAL | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0